## Hoja1
linea | tipo
601-CCPSL-PIP-E3D-Zone C-Fuel gas supplied system | tipo
601-CCPSL-PIP-E3D-Zone C-Fuel gas supplied system |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
601-CCPSL-PIP-E3D-Zone C-Fuel gas supplied system |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
602-CCPSL-PIP-E3D-Rack-Liquid fuel storage and supply system | tipo
602-CCPSL-PIP-E3D-Zone A-Liquid fuel storage and supply system | tipo
602-CCPSL-PIP-E3D-Zone A-Liquid fuel storage and supply system |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling Water System
602-CCPSL-PIP-E3D-Zone A-Liquid fuel storage and supply system |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling Water System
602-CCPSL-PIP-E3D-Zone A-Liquid fuel storage and supply system |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling Water System
602-CCPSL-PIP-E3D-Zone A-Liquid fuel storage and supply system |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
602-CCPSL-PIP-E3D-Zone A-Liquid fuel storage and supply system |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
602-CCPSL-PIP-E3D-Zone C-Ignition Fuel Gas Supply System | tipo
602-CCPSL-PIP-E3D-Zone C-Ignition Fuel Gas Supply System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
602-CCPSL-PIP-E3D-Zone C-Ignition Fuel Gas Supply System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
602-CCPSL-PIP-E3D-Zone C-Ignition Fuel Gas Supply System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
602-CCPSL-PIP-E3D-Zone C-Liquid fuel storage and supply system | tipo
602-CCPSL-PIP-E3D-Zone C-Liquid fuel storage and supply system |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
602-CCPSL-PIP-E3D-Zone C-Liquid fuel storage and supply system |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
603-CCPSL-PIP-E3D-Rack-Raw Water Intake & Pretreatment System | tipo
603-CCPSL-PIP-E3D-Zone B-Chemical Dosing | tipo
603-CCPSL-PIP-E3D-Zone B-Chemical Dosing |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
603-CCPSL-PIP-E3D-Zone B-Raw Water Intake & Pretreatment System | tipo
603-CCPSL-PIP-E3D-Zone B-Raw Water Intake & Pretreatment System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
603-CCPSL-PIP-E3D-Zone B-Raw Water Intake & Pretreatment System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
603-CCPSL-PIP-E3D-Zone B-Raw Water Intake & Pretreatment System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
603-CCPSL-PIP-E3D-Zone B-Raw Water Intake & Pretreatment System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
604-CCPSL-PIP-E3D-Rack-Service Water System | tipo
604-CCPSL-PIP-E3D-Zone A-Service Water System | Threaded
604-CCPSL-PIP-E3D-Zone A-Service Water System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
604-CCPSL-PIP-E3D-Zone A-Service Water System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
604-CCPSL-PIP-E3D-Zone B-Service Water System | Threaded
604-CCPSL-PIP-E3D-Zone B-Service Water System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
604-CCPSL-PIP-E3D-Zone B-Service Water System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
604-CCPSL-PIP-E3D-Zone B-Service Water System |  | 607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling water Tower
604-CCPSL-PIP-E3D-Zone C-Service Water System | Threaded
604-CCPSL-PIP-E3D-Zone C-Service Water System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
604-CCPSL-PIP-E3D-Zone C-Service Water System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
605-CCPSL-PIP-E3D-Rack-Demin Water Storage and Distribution System | Threaded
605-CCPSL-PIP-E3D-Zone B-Demin Water Storage and Distribution System | Threaded
605-CCPSL-PIP-E3D-Zone B-Demin Water Storage and Distribution System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
605-CCPSL-PIP-E3D-Zone B-Demin Water Storage and Distribution System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
605-CCPSL-PIP-E3D-Zone B-Demin Water Storage and Distribution System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
605-CCPSL-PIP-E3D-Zone C-Demi Water Storage and Distribution System | Threaded
605-CCPSL-PIP-E3D-Zone C-Demi Water Storage and Distribution System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
605-CCPSL-PIP-E3D-Zone C-Demi Water Storage and Distribution System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
605-CCPSL-PIP-E3D-Zone C-Demi Water Storage and Distribution System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
609-CCPSL-PIP-E3D-Zone C-Close Cooling Water System Manifold | Threaded
609-CCPSL-PIP-E3D-Zone C-Close Cooling Water System | Threaded
609-CCPSL-PIP-E3D-Zone C-Close Cooling Water System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
609-CCPSL-PIP-E3D-Zone C-Close Cooling Water System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
609-CCPSL-PIP-E3D-Zone C-Close Cooling Water System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
610-CCPSL-PIP-E3D-Rack- Neutralization Drain System | Threaded
610-CCPSL-PIP-E3D-Zone A-Drainage System | Threaded
610-CCPSL-PIP-E3D-Zone A-Drainage System |  | 608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System
610-CCPSL-PIP-E3D-Zone A-Drainage System |  | 746-CCPSL-PIP-E3D-Zone C-Phase 2-Auxiliar Cooling System
610-CCPSL-PIP-E3D-Zone A-Drainage System |  | 746-CCPSL-PIP-E3D-Zone C-Phase 2-Auxiliar Cooling System
610-CCPSL-PIP-E3D-Zone A-Drainage System |  | 746-CCPSL-PIP-E3D-Zone C-Phase 2-Auxiliar Cooling System
610-CCPSL-PIP-E3D-Zone A-Drainage System |  | 746-CCPSL-PIP-E3D-Zone C-Phase 2-Auxiliar Cooling System
610-CCPSL-PIP-E3D-Zone B- Neutralization Drain System | Threaded
610-CCPSL-PIP-E3D-Zone B- Neutralization Drain System |  | 746-CCPSL-PIP-E3D-Zone C-Phase 2-Auxiliar Cooling System
610-CCPSL-PIP-E3D-Zone B- Neutralization Drain System
610-CCPSL-PIP-E3D-Zone C-Drainage system | Threaded
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
610-CCPSL-PIP-E3D-Zone C-Drainage system
616-CCPSL-PIP-E3D-Rack-Compressed Air System | Threaded
616-CCPSL-PIP-E3D-Rack-Compressed Air System
616-CCPSL-PIP-E3D-Zone A-Compressed Air System | Threaded
616-CCPSL-PIP-E3D-Zone A-Compressed Air System |  | 603-CCPSL-PIP-E3D-Zone B-Phase 2-Raw Water Intake & Pretreatment System
616-CCPSL-PIP-E3D-Zone B-Compressed Air System | Threaded
616-CCPSL-PIP-E3D-Zone B-Compressed Air System
616-CCPSL-PIP-E3D-Zone B-Compressed Air System
616-CCPSL-PIP-E3D-Zone B-Compressed Air System
616-CCPSL-PIP-E3D-Zone B-Compressed Air System
616-CCPSL-PIP-E3D-Zone B-Compressed Air System
616-CCPSL-PIP-E3D-Zone C-Compressed Air System - Compressor Room | Threaded
616-CCPSL-PIP-E3D-Zone C-Compressed Air System - Compressor Room
616-CCPSL-PIP-E3D-Zone C-Compressed Air System - Compressor Room
616-CCPSL-PIP-E3D-Zone C-Compressed Air System - Compressor Room
616-CCPSL-PIP-E3D-Zone C-Compressed Air System | Threaded
616-CCPSL-PIP-E3D-Zone C-Compressed Air System
616-CCPSL-PIP-E3D-Zone C-Compressed Air System
616-CCPSL-PIP-E3D-Zone C-Compressed Air System
616-CCPSL-PIP-E3D-Zone C-Compressed Air System
616-CCPSL-PIP-E3D-Zone C-Compressed Air System
650-CCPSL-PIP-E3D-Rack-Fire Fighting System Diesel Tank Farm Area | Threaded
650-CCPSL-PIP-E3D-Rack-Fire Fighting System Diesel Tank Farm Area
650-CCPSL-PIP-E3D-Zone A-Fire Fighting System Diesel Tank Farm Area | Threaded
650-CCPSL-PIP-E3D-Zone A-Fire Fighting System Diesel Tank Farm Area
650-CCPSL-PIP-E3D-Zone A-Fire Fighting System Diesel Tank Farm Area
650-CCPSL-PIP-E3D-Zone A-Fire Fighting System Diesel Tank Farm Area
650-CCPSL-PIP-E3D-Zone A-Fire Fighting System Diesel Tank Farm Area
650-CCPSL-PIP-E3D-Zone A-Fire Fighting System Diesel Tank Farm Area
650-CCPSL-PIP-E3D-Zone A-Fire Fighting System Diesel Tank Farm Area
650-CCPSL-PIP-E3D-Zone A-Foam System | Threaded
650-CCPSL-PIP-E3D-Zone A-Foam System
650-CCPSL-PIP-E3D-Zone A-Foam System
650-CCPSL-PIP-E3D-Zone A-Foam System
650-CCPSL-PIP-E3D-Zone A-Foam System
650-CCPSL-PIP-E3D-Zone A-Foam System
650-CCPSL-PIP-E3D-Zone A-Foam System
650-CCPSL-PIP-E3D-Zone A-Foam System
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station | Threaded
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station
650-CCPSL-PIP-E3D-Zone C-Fire Fighting System Transformadores | Threaded
650-CCPSL-PIP-E3D-Zone C-Fire Fighting System Transformadores
650-CCPSL-PIP-E3D-Zone C-Fire Fighting System Transformadores
650-CCPSL-PIP-E3D-Zone C-Fire Fighting System Transformadores
650-CCPSL-PIP-E3D-Zone C-Fire Fighting System Turbinas | Threaded
760-CCPSL-PIP-E3D-Zone C-Chemical Dosing System | Threaded
760-CCPSL-PIP-E3D-Zone C-Chemical Dosing System
805-CCPSL-PIP-E3D-Zone A-Fire water tanks | Threaded
805-CCPSL-PIP-E3D-Zone A-Fire water tanks
805-CCPSL-PIP-E3D-Zone A-Fire water tanks
603-CCPSL-PIP-E3D-Zone B-Phase 2-Raw Water Intake & Pretreatment System | Threaded
607-CCPSL-PIP-E3D-Zone B-Phase 2-Cooling Water System | Threaded
606-CCPSL-PIP-E3D-Zone C-Phase 2-LP7 Steam System | Threaded
780-CCPSL-PIP-E3D-Zone C-Phase 2 Auxiliary Interconnectios System | Threaded
601-CCPSL-PIP-E3D-Rack-Fuel gas supplied system | Socketweld-Buttweld
601-CCPSL-PIP-E3D-Rack-Ignition Fuel Gas Supply system | Socketweld-Buttweld
601-CCPSL-PIP-E3D-Zone C-Fuel gas supplied system | Socketweld-Buttweld
602-CCPSL-PIP-E3D-Rack-Liquid fuel storage and supply system | Socketweld-Buttweld
602-CCPSL-PIP-E3D-Zone A-Liquid fuel storage and supply system | Socketweld-Buttweld
602-CCPSL-PIP-E3D-Zone C-Ignition Fuel Gas Supply System | Socketweld-Buttweld
602-CCPSL-PIP-E3D-Zone C-instrument Ignition Fuel Gas | Socketweld-Buttweld
602-CCPSL-PIP-E3D-Zone C-Liquid fuel storage and supply system | Socketweld-Buttweld
603-CCPSL-PIP-E3D-Rack-Raw Water Intake & Pretreatment System | Socketweld-Buttweld
603-CCPSL-PIP-E3D-Zone B-Chemical Dosing | Socketweld-Buttweld
603-CCPSL-PIP-E3D-Zone B-Raw Water Intake & Pretreatment System | Socketweld-Buttweld
604-CCPSL-PIP-E3D-Rack-Service Water System | Socketweld-Buttweld
604-CCPSL-PIP-E3D-Zone A-Service Water System | Socketweld-Buttweld
604-CCPSL-PIP-E3D-Zone B-Service Water System | Socketweld-Buttweld
604-CCPSL-PIP-E3D-Zone C-Service Water System | Socketweld-Buttweld
605-CCPSL-PIP-E3D-Rack-Demin Water Storage and Distribution System | Socketweld-Buttweld
605-CCPSL-PIP-E3D-Zone B-Demin Water Storage and Distribution System | Socketweld-Buttweld
605-CCPSL-PIP-E3D-Zone C-Demi Water Storage and Distribution System | Socketweld-Buttweld
609-CCPSL-PIP-E3D-Zone C-Close Cooling Water System Manifold | Socketweld-Buttweld
609-CCPSL-PIP-E3D-Zone C-Close Cooling Water System | Socketweld-Buttweld
610-CCPSL-PIP-E3D-Rack- Neutralization Drain System | Socketweld-Buttweld
610-CCPSL-PIP-E3D-Zone A-Drainage System | Socketweld-Buttweld
610-CCPSL-PIP-E3D-Zone B- Neutralization Drain System | Socketweld-Buttweld
610-CCPSL-PIP-E3D-Zone B-Neutralization PIT Blower Air system | Socketweld-Buttweld
610-CCPSL-PIP-E3D-Zone C-Drainage system | Socketweld-Buttweld
616-CCPSL-PIP-E3D-Rack-Compressed Air System | Socketweld-Buttweld
616-CCPSL-PIP-E3D-Zone B-Compressed Air System | Socketweld-Buttweld
616-CCPSL-PIP-E3D-Zone C-Compressed Air System - Compressor Room | Socketweld-Buttweld
616-CCPSL-PIP-E3D-Zone C-Compressed Air System | Socketweld-Buttweld
650-CCPSL-PIP-E3D-Rack-Fire Fighting System Diesel Tank Farm Area | Socketweld-Buttweld
650-CCPSL-PIP-E3D-Zone A-Fire Fighting System Diesel Tank Farm Area | Socketweld-Buttweld
650-CCPSL-PIP-E3D-Zone A-Foam System | Socketweld-Buttweld
650-CCPSL-PIP-E3D-Zone B-Fire Fighting System Pumping Station | Socketweld-Buttweld
650-CCPSL-PIP-E3D-Zone C-Fire Fighting System Transformadores | Socketweld-Buttweld
650-CCPSL-PIP-E3D-Zone C-Fire Fighting System Turbinas | Socketweld-Buttweld
710-CCPSL-PIP-E3D-Zone A-Liquid fuel storage and supply system drains | Socketweld-Buttweld
710-CCPSL-PIP-E3D-Zone C-Liquid fuel storage and supply system drains | Socketweld-Buttweld
760-CCPSL-PIP-E3D-Zone C-Chemical Dosing System | Socketweld-Buttweld
805-CCPSL-PIP-E3D-Zone A-Fire water tanks | Socketweld-Buttweld
601-CCPSL-PIP-E3D-Rack-Phase 2-Fuel gas supplied system | Socketweld-Buttweld
603-CCPSL-PIP-E3D-Rack-Phase 2-Raw Water Intake & Pretreatment System | Socketweld-Buttweld
604-CCPSL-PIP-E3D-Rack-Phase 2-Service Water System | Socketweld-Buttweld
605-CCPSL-PIP-E3D-Rack-Phase 2-Demin Water Storage and Distribution System | Socketweld-Buttweld
606-CCPSL-PIP-E3D-Rack-HP Drain Steam System | Socketweld-Buttweld
616-CCPSL-PIP-E3D-Rack-Phase 2-Compressed Air System | Socketweld-Buttweld
746-CCPSL-PIP-E3D-Rack-Phase 2-Auxiliar Cooling System | Socketweld-Buttweld
605-CCPSL-PIP-E3D-Zone C-Phase 2-Demi Water Storage and Distribution System | Socketweld-Buttweld
606-CCPSL-PIP-E3D-Zone C-Phase 2-TV-HP Drain Steam System | Socketweld-Buttweld
608-CCPSL-PIP-E3D-Zone C-Phase 2 - Condensate vent system | Socketweld-Buttweld
608-CCPSL-PIP-E3D-Zone C-Phase 2-Condensate System | Socketweld-Buttweld
616-CCPSL-PIP-E3D-Zone C-Phase 2-Compressed Air System | Socketweld-Buttweld
603-CCPSL-PIP-E3D-Rack-Raw Water Intake & Pretreatment System | HDPE
603-CCPSL-PIP-E3D-Zone B-Raw Water Intake & Pretreatment System | HDPE
Agua de Rio de T6 a Planta | HDPE
610-CCPSL-PIP-E3D-Zone B-Neutralization PIT Blower Air system | HDPE
616-CCPSL-PIP-E3D-Zone C-Compressed Air System - Compressor Room | Vitaulic
650-CCPSL-PIP-E3D-Rack-Fire Fighting System Diesel Tank Farm Area | Vitaulic
650-CCPSL-PIP-E3D-Zone A-Fire Fighting System Diesel Tank Farm Area | Vitaulic
650-CCPSL-PIP-E3D-Zone A-Foam System | Vitaulic
650-CCPSL-PIP-E3D-Zone C-Fire Fighting System Transformadores | Vitaulic
805-CCPSL-PIP-E3D-Zone A-Fire water tanks | Vitaulic
606-CCPSL-PIP-E3D-Zone C-Phase 2-TV-HP Drain Steam System | GRP
607-CCPSL-PIP-E3D-Zone C-Phase 2-Cooling Water System | GRP
746-CCPSL-PIP-E3D-Zone C-Phase 2-Auxiliar Cooling System | GRP
610-CCPSL-PIP-E3D-Zone B-Neutralization PIT Blower Air system | GRP